ANNEX 1

LIST OF PRODUCTS / SPARE PARTS QUANTITIES

The served equipment: The hydrogen generation plant from Grozavesti Thermal Power Plant, composed of two hydrogen generators HOGEN S40 series no. 2, PROTON ENERGY SYSTEM – USA fabrication, year 2003.

| Running no. | PRODUCT / SPARE PART NAME | Measuring unit | Quantity | The required delivery date |
| --- | --- | --- | --- | --- |
| 0 | 1 | 2 | 3 | 4 |
| 1 | Maintenance kit for the hydrogen dryer, composed of: | set | 1 | 40 calendar days |
|  | - Protection pad (10 micron screen cup) – code 02-3005-0000 | pcs | 2 |  |
|  | - Limiting device (S40 Dryer Orifice- OR330) – code 02-3300-0003 | pcs | 2 |  |
|  | - Check valve (Check Valve Assy. CV331 & CV332) – code 04-0301-0002 | pcs | 2 |  |
|  | - Two way exchanger, NI (solenoid valve NC – SV341 & 342) – code 08-1700-0021 | pcs | 2 |  |
|  | - Two way exchanger, NI (solenoid valve NC – SV343 & 344) – code 08-1700-0022 | pcs | 2 |  |
|  | - O-ring FKM #024 (O-ring Dryer top manifold tube) – code 13-0300-0028 | pcs | 2 |  |
|  | - O-ring FKM #021 (O-ring Dryer bottom tube) – code 13-0300-0029 | pcs | 2 |  |
|  | - Gasket FKM (O-ring solenoid valve) – code 13-0300-0033 | pcs | 4 |  |
|  | - O-ring FKM #010 (O-ring Check valve cap) – code 13-0300-0034 | pcs | 2 |  |
|  | - Desiccant – silicagel (Desiccant) – code 02-3004-0001 | pcs | 450 |  |
|  | - O-ring FKM (seal, Operator valve) – code 13-0200-0006 | pcs | 4 |  |
|  | - O-ring FKM #019 for the cover of the limiting device | pcs | 1 |  |
| 2 | Control board - cod 57-0100-0000 | pcs | 1 |  |

The present quantity list has 2 positions and 13 subpositions, on one page.

HEAD OF TECHNICAL MAINTENANCE DEPT., 		          BDUR		          Responsible of Tech. Maintenance Dept.		                        Adrian Olteanu 				                  Ion Vasile		                     V. Petrescu