THE FORM OF TENDER

CONTRACTOR’S NAME

…………………………………………………………………………………………………………

| RUNNING NO. | PRODUCT DENOMINATION | MU | QUANTITY | PRICE IN LEI WITHOUT VAT(*) |  | PRICE IN EURO WITHOUT VAT(*) |  | MANUFACTURER | DELIVERY DEADLINE (**) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | UNIT PRICE | TOTAL | UNIT PRICE | TOTAL |  |  |
| 1 | 2 | 3 | 4 | 5 | 6=5*4 | 7 | 8=7*4 | 9 | 10 |
| 1 | Maintenance KIT for the hydrogen dryer | Set | 1 |  |  |  |  |  |  |
|  | The kit contains the following: |  |  |  |  |  |  |  |  |
|  | - The protection pad (10 micron screen cup) – code 02-3005-0000 | pcs | 2 |  |  |  |  |  |  |
|  | - Limiting device (S40 Dryer Orifice- OR330) – code 02-3300-0003 | pcs | 2 |  |  |  |  |  |  |
|  | - Check valve (Check Valve Assy. CV331 & CV332) – code 04-0301-0002 | pcs | 2 |  |  |  |  |  |  |
|  | - Two way exchanger, NI (solenoid valve NC – SV341 & 342) – code 08-1700-0021 | pcs | 2 |  |  |  |  |  |  |
|  | - Two way exchanger, NI (solenoid valve NC – SV343 & 344) – code 08-1700-0022 | pcs | 2 |  |  |  |  |  |  |
|  | - O-ring FKM #024 (O-ring Dryer top manifold tube) – code 13-0300-0028 | pcs | 2 |  |  |  |  |  |  |
|  | - O-ring FKM #021 (O-ring Dryer bottom tube) – code 13-0300-0029 | pcs | 2 |  |  |  |  |  |  |
|  | - Gasket FKM (O-ring solenoid valve) – code 13-0300-0033 | pcs | 4 |  |  |  |  |  |  |
|  | - O-ring FKM #010 (O-ring Check valve cap) – code 13-0300-0034 | pcs | 2 |  |  |  |  |  |  |
|  | - Desiccant – silicagel (Desiccant) – code 02-3004-0001 | Grams | 450 |  |  |  |  |  |  |
|  | - O-ring FKM (seal, Operator valve) – code 13-0200-0006 | pcs | 4 |  |  |  |  |  |  |
|  | - O-ring FKM #019 for the cover of the limiting device | pcs | 1 |  |  |  |  |  |  |
| 2. | The control board - code 57-0100-0000 | pcs | 1 |  |  |  |  |  |  |
|  | Customs import duties (if necessary) |  |  |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |  |  |

- (*) The transport and the counter value of the packages shall be included in the price.

- (**)  The delivery deadline required by the purchaser : 40 days counted from the contract signing date.

- The awarding shall be done for the entire quantity of products. Partial tenders are not allowed.

TECHNICAL CONDITIONS

| PURCHASER’S DEMAND | CONTRACTOR’S OFFER (it shall be checked off the desired variant) |
| --- | --- |
| There shall be met the requirements mentioned by the purchaser in the Tender Book, attached to the demand. | Accepted □ Not accepted □ |
| The Contractor shall submit the proof for factory certification of the quality assurance system, according to SR EN ISO 9001 (the certificate shall be attached). | Accepted □ Not accepted □ |
| In the Technical Proposal, the tenderer shall certify the supply of the required products in Annex 1. | Accepted □ Not accepted □ |
| In the Technical Proposal, there must be written down information regarding the delivery deadline of the tender products. | Accepted □ Not accepted □ |
| There shall be submitted the technical sheets of the tender products, the technical specifications, factory codes, any other information that describe in details, as much as possible, the tender products and that prove that these products comply with all the technical conditions from Annex 1. | Accepted □ Not accepted □ |

COMMERCIAL CONDITIONS

| PURCHASER’S DEMAND | CONTRACTOR’S OFFER (it shall be checked off the desired variant) |
| --- | --- |
| Delivery: | Accepted □ Not accepted □ |
| The products shall be delivered ex warehouse to the Owner – Grozavesti Thermal Power Plant, 229 Splaiul Independentei, district 6, between 7:00 – 15:00, during the working days, the Contractor providing the transport and bearing the afferent costs. The delivered products shall be accompanied by the following documents: - factory quality certificate and warranty certificate; - conformity declaration. |  |
| The taking over of the products: - The Goods Receipt Note drawn up by the purchaser shall be made out within 3 days counted from the date when the goods were received, based on the documents that accompany the shipping and mentioned in the Tender Book, Chapter VIII. | Accepted □ Not accepted □ |
| The technical warranty : 12 months from the delivery, for the control board and minimum 3 months from the delivery, for the dryer’s maintenance kit. | Accepted □ Not accepted □ |
| Payment terms : according to the stipulations from the sample contract. | Accepted □ Not accepted □ |
| Delivery address: Bucuresti Grozavesti Thermal Power Plant, 229 Splaiul Independentei, district 6 | Accepted □ Not accepted □ |
| To observe the contractual clauses of the attached sample contract (submitted via e-mail). | Accepted □ Not accepted □ □ Accepted with objections – if necessary, the objections shall be attached. |

COMMENTS : …………………………………………………………………………………………........................

…………………………………………………………………………………………………………

CONTRACTOR

……………………….

(authorised signature)