APPROVED BY,

TehnicAL MANAGER   Constantin Dobre

SECTION ii

TENDER BOOK no. 24 STM

for the service “the diagnosis of three (3) Umfpr 60 hf cards from Progresu Thermal power plant and the remediation of the ones that can be repaired”

# Chapter I. OBJECT OF THE TENDER BOOK

The object of this Tender Book refers to the diagnosis and, if possible, to the remediation of three (3) UMFPR 60HF cards afferent to the electrohydraulic controllers from Progresu Thermal Power Plant, according to the requirements detailed in Attachment 1.

Chapter II. CHARACTERISTICS, TECHNICAL PARAMETERS

The equipment making the object of the repair work mentioned at Chapter 1 were put into operation between 2004 – 2007, recording, up to the present moment, over 10 years of operation.

The electrohydraulic controllers, afferent to Steam Turbine 3 and Steam Turbine 4 from Progresu Thermal Power Plant, are essential components for the operation of the turbines, and the cards that are the object of the required services are processor cards, being the main item of the programmable automatic and which are part of the latter. They are endowed also with a card slot of the Compact Flash type.

The faulty cards have the following series:   -   12/ 98088

-   12/ 78181

-   12/ 117479

## Chapter III. PURPOSE OF THE SERVICE

The procurement of the services from this Tender Book is done in order to ensure the availability of the electrohydraulic controllers of Steam Turbine 3 and Steam Turbine 4 from Progresu Thermal Power Plant and also to ensure their operation according to their design parameters.

Chapter IV. LIST OF SERVICES

In Attachment no. 1 to this Tender Book is presented the quantity list of services that are required to be performed.

Chapter V. CONTRACT VALIDITY AND PERFORMANCE

The Contractor shall end the diagnostic of the cards within 10 calendar days counted from the day when the service Provider received the package, and the latter shall repair the cards that can be repaired and that are accepted by the Beneficiary, within 30 calendar days from the date when it was received the agreement in writing from the ELCEN Beneficiary.

Chapter VI. MATERIALS, SPARE PARTS AND EQUIPMENT NECESSARY FOR THE SERVICE PERFORMANCE

It is not the case. The Beneficiary shall send only these three (3) cards, packed for transport. All the items necessary to repair the cards will be provided by the service Provider.

Chapter VII. TECHNICAL REQUIREMENTS IMPOSED BY THE CONTRACTING AUTHORITY IN THE TENDER PHASE

The technical bid shall comply with the requirements of the Tender Book.

1. The tenderer shall certify in the technical bid the execution of the services required in Attachment no. 1.

2. It is compulsory for the technical bid to include information regarding the deadline of each stage of the services and the technical warranties offered.

3. In the technical bid, the tenderer shall prove the implementation of ISO 9001 Quality Standard in force or of any other equivalent European standard.

Chapter VIII. REQUIREMENTS IMPOSED BY THE CONTRACTING AUTHORITY DURING THE EXECUTION OF THE CONTRACT

- The services must comply with the technical execution and quality documentations, with all the final tests stipulated in the designer’s/manufacturer’s documentations, with the Tender Book and the specific quality management procedures specified in its own quality book.

- The service Provider must carry out the services of this Tender Book in accordance with the requirements of the ISO 9001 Quality Standard in force or of any other equivalent European standard.

- The service Provider shall notify the Purchaser of the possible nonconformities occurred during the service performance.

- The service Provider must provide the technologies necessary for the performance of services, based on the Quality Management procedures, according to its own Quality Book.

- The service Provider must provide only qualified and authorized personnel for the execution of services, including for the interventions during the defect liability period.

- The service Provider must make available to the Purchaser the Conformity Declarations and the Quality Certificates for the repaired equipments (cards).

- The service Provider shall bear the entire responsibility for the compliance with the provisions of the environment law from its country, of the waste management law, H&S law and of any other legislations that are related to the activity developed by it.

- As much as possible, the service Provider shall use biodegradable packages.

- The service Provider must provide the safe shipping of all the cards, be they repaired or not, back to the Beneficiary (according to item 5 from Attachment 1).

Chapter IX. THE TAKING OVER OF THE SERVICES

The taking over of services is made in stages, as follows:

- Diagnosis Report (measurements, checks, conclusions, repair costs) for each card. These Reports will be sent by post or e-mail. Only after the approval of these three Reports by the ELCEN Technical Management, the next stages will follow (please see Attachment 1);

- Verification Report of the operation parameters for the repaired cards, including the mentioning of the firmware version existing on the card;

-  Quality and Warranty Certificates for the repaired cards.

Chapter X. TECHNICAL WARRANTY

1.  The required technical warranty is of minimum 12 months for the repaired cards.

Chapter XI. OTHER REQUIREMENTS

- Annex 1 is an integrant part of the hereby Tender Book.

- The technical proposal shall take into account the requirements described in the hereby Tender Book and in the Data Sheet, at the specific chapter “The manner of presentation of the technical proposal”.

- The tender shall be for the diagnostic (item 1, Attachment 1), submitting also a maximum price estimated for the repair of one card.

- The package containing those three repaired or faulty cards, will be sent to CTE Progresu, Romania, Bucuresti, Str. Pogoanelor 1A, sector 4.

HEAD OF THE TECHNICAL MAINTENANCE DEPT.                     BDUR

Adrian Olteanu                                                          Ion Vasile

Responsible of the Technical Maintenance Dept.,

V. Petrescu

Attachment no.1

The diagnosis of three (3) UMFPR 60HF cards from Progresu Thermal Power Plant and the remedial of the ones that can be repaired

SERVICES QUANTITY LIST

| Stage | DENOMINATION OF SERVICES | M.U. | QUANTITY |
| --- | --- | --- | --- |
| 1 | The diagnosis of three UMFPR 60HF cards with the series numbers mentioned hereinafter, issuing a Diagnosis Report and being specified, on each report, if the respective card can be repaired or not, as well as the remedial costs (if the case). | pcs. | 3 |
| 2 | Remedial of card with the series no. 12/98088 | pcs. | 1 |
| 3 | Remedial of card with the series no. 12/78181 | pcs. | 1 |
| 4 | Remedial of card with the series no. 12/117479 | pcs. | 1 |
| 5 | The return of the cards to the Beneficiary (ELCEN) | package | 1 |

- COMMENT : - The stages 2-4 will be performed after the end of stage 1 and after the service Provider receives the Beneficiary’s nominal approval for the repair work.

HEAD OF THE TECHNICAL MAINTENANCE DEPT.                     BDUR

Adrian Olteanu                                                                Ion Vasile

Responsible of the Technical Maintenance Dept.,

V. Petrescu