FISA DE OFERTA

Etalonarea mijloacelor de masurare ce apartin Uzinei de Reparatii

DENUMIRE PRESTATOR…………………………………………………………………………………………………..

| Nr.crt. | DENUMIREA SERVICIILOR | UM | Cantitate | Pret unitar (lei fara TVA) | Pret total (lei fara TVA) | Din care |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Contractant general | Sucontractant |
|  | Etalonarea urmatoarelor mijloace de masurare (denumire , tip, domeniu de masurare, caracteristici tehnice) : |  |  |  |  |  |  |
|  | LOT 1 |  |  |  |  |  |  |
| 1 | Miliampermetru analogic AEM D61 dom.(100 ÷200)mA ca, cc, cl.0,2 | buc | 2 |  |  |  |  |
| 2 | Ampermetru tip D61; dom.0÷2,5÷5Ac.c,cl.0,2 | buc | 2 |  |  |  |  |
| 3 | Ampermetru tip D61, dom.0÷1A cc, cl.0,2 | buc | 2 |  |  |  |  |
| 4 | Ampermetru analogic URSS 359,dom.: 2,5A÷5 A cc; ca; cl.0,5 | buc | 4 |  |  |  |  |
| 5 | Ampermetru analogic URSS tip.M 1104, cl.0,2;domeniul 0÷ 5A; 0÷10A.; 0-0,3-0,75-1,5-3-7,5-15-39Acc;0-0,75-1,5-7,5-15-30-75-150mAcc | buc | 2 |  |  |  |  |
| 6 | Ampermetru analogic tip AP 53, 0÷ 20A c.a., cls 1 | buc | 6 |  |  |  |  |
| 7 | Ampermetru METRA (0÷5÷20)A c.a.;cls 0.5 | buc | 1 |  |  |  |  |
| 8 | Cleste ampermetric,tipM4, 0-600A, cl.2 | buc | 2 |  |  |  |  |
| 9 | Microohmmetru digital CA 10,dom.0÷20Ω, 0÷200Ω, 0÷20mΩ, 0÷200mΩ, 0÷2000mΩ ,0÷2000µΩ | buc | 1 |  |  |  |  |
| 10 | Megohmetru tip ISOL 5002, dom; ,01MΩ÷30MΩ÷10.000MΩ sau 0÷50MΩ÷500MΩ÷5000MΩ; 0÷600V | buc | 3 |  |  |  |  |
| 11 | Megohmetu tip IMEG 1000 Chavin Arnoux (cu inducor) ; 0÷250÷500÷1000V;5000V | buc | 4 |  |  |  |  |
| 12 | Milivoltmetru C4 AEM, dom.0÷75mV cc;cl.0,2 | buc | 2 |  |  |  |  |
| 13 | Multimetru digital DMM 210 | buc | 1 |  |  |  |  |
| 14 | Multimetru digital HIOKI 3805 ; 3284 ; 3288 | buc | 1 |  |  |  |  |
| 15 | Voltmetru ; dom 0-250V c.a.; 0-500Vc.a. ; cls 0.5 | buc | 1 |  |  |  |  |
| 16 | Voltmetru analogic tip D61, dom.0-450V,cl 0,2 | buc | 2 |  |  |  |  |
| 17 | Voltmetru analogic AEM C4; dom:44,84 mV-74,88 mV-3V-7,5V-15 V-30 V;75V-150V-300V-600Vcc;cl.0,2 | buc | 2 |  |  |  |  |
| 18 | Voltmetru analogic tip IRME VP 53, 0÷300÷600VCA, cl.0,5 | buc | 4 |  |  |  |  |
| 19 | Trusa curent tensiune VAF, dom.0÷250V,0÷10A | buc | 2 |  |  |  |  |
| 20 | Wattmetru analogic monofazat METRA EL20,dom.75÷150÷300÷450V/2,5÷5A,cl.0,2/METRA tip PSLL | buc | 5 |  |  |  |  |
| 21 | Cleste masura prize de pamant Chavin Arnoux | buc | 1 |  |  |  |  |
| 22 | Punte de capacitate si tg de delta ;tip:2000 ;fabricant MEGGER ;dom:capacitate:1pF ÷1,1μF;tangenta unghiului de pierderi:0-200%;U 250V÷12KV;I:0÷5A | buc | 1 |  |  |  |  |
| LOT 2 |  |  |  |  |  |  |  |
| 1 | Micrometru adancime digital/electronic, dom;0÷150mm; | buc | 1 |  |  |  |  |
| 2 | Micrometru de interior, dom; 25-50mm; | buc | 1 |  |  |  |  |
| 3 | Micrometru de interior tip vergea, dom. 100-300mm, (3 seg) | buc | 1 |  |  |  |  |
| 4 | Micrometru de interior tip vergea, dom. 0-500mm (6 seg) | buc | 1 |  |  |  |  |
| 5 | Micrometru de interior tip vergea, dom. 100-500mm, (4 seg) | buc | 1 |  |  |  |  |
| 6 | Micrometru de exterior, dom; 0÷100mm; | buc | 2 |  |  |  |  |
| 7 | Micrometru de exterior, dom; 0÷25mm; | buc | 7 |  |  |  |  |
| 8 | Micrometru de exterior, dom 25÷50mm; | buc | 7 |  |  |  |  |
| 9 | Micrometru de exterior, dom; 50÷75mm | buc | 1 |  |  |  |  |
| 10 | Micrometru de exterior, dom 75÷100mm | buc | 3 |  |  |  |  |
| 11 | Micrometru de exterior, dom; 100÷125mm | buc | 5 |  |  |  |  |
| 12 | Micrometru de exterior, dom; 125÷150mm | buc | 3 |  |  |  |  |
| 13 | Micrometru de exterior, dom; 150÷175mm | buc | 2 |  |  |  |  |
| 14 | Micrometru de exterior , dom.175÷200mm | buc | 2 |  |  |  |  |
| 15 | Cale ptr verificare micrometre | buc | 24 |  |  |  |  |
| 16 | Subler adancime, dom;0÷150mm; | buc | 5 |  |  |  |  |
| 17 | Subler adancime, dom;0÷300mm; | buc | 5 |  |  |  |  |
| 18 | Subler de exterior, dom;0÷150mm; | buc | 1 |  |  |  |  |
| 19 | Subler de exterior, dom. 0÷200mm | buc | 4 |  |  |  |  |
| 20 | Subler de exterior, dom;0÷300mm; | buc | 2 |  |  |  |  |
| 21 | Subler de exterior, dom; 0÷500mm; | buc | 1 |  |  |  |  |
| 22 | Subler de exterior si de adancime, dom;0÷150mm; | buc | 1 |  |  |  |  |
| 23 | Subler de exterior si interior, dom;0÷150mm; | buc | 1 |  |  |  |  |
| 24 | Subler de interior -exterior (cu stigmas), dom. 0-300mm | buc | 1 |  |  |  |  |
| 25 | Subler de interior -exterior si adancime, (cu stigmas), dom. 0-150mm | buc | 1 |  |  |  |  |
| 26 | Subler interior exterior si adancime, dom 0-300mm | buc | 1 |  |  |  |  |
| 27 | Subler cu vernier, dom;0÷150mm; | buc | 1 |  |  |  |  |
| 28 | Subler digital cu vernier, dom;0÷150mm; | buc | 1 |  |  |  |  |
| 29 | Trusa alezaj, dom; 4÷9,5mm; | buc | 2 |  |  |  |  |
| 30 | Trusa alezaj, dom; 10-20mm | buc | 1 |  |  |  |  |
| 31 | Trusa alezaj, dom; 35÷60mm | buc | 2 |  |  |  |  |
| 32 | Trusa alezaj, dom; 50÷160mm/60÷160mm | buc | 2 |  |  |  |  |
| 33 | Ceas comparator, dom; 0÷10 mm; | buc | 8 |  |  |  |  |
| 34 | Ceas comparator, dom. 0÷30mm | buc | 6 |  |  |  |  |
| 35 | Ceas comparator, dom, 0÷80 mm | buc | 1 |  |  |  |  |
| LOT 3 |  |  |  |  |  |  |  |
| 1 | Manometre acetilena | buc | 16 |  |  |  |  |
| 2 | Manometre oxigen | buc | 16 |  |  |  |  |

| LOT 4 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Aparat masurare rigiditate uleiuri , tip MEGGER 80 AF/2;MEGGER DET 5/4R cu kit | buc | 1 |  |  |  |  |
| LOT 5 |  |  |  |  |  |  |  |
| 1 | Camera termoviziune THERMACAM T360 | buc | 1 |  |  |  |  |
| LOT 6 |  |  |  |  |  |  |  |
| 1 | Aparat pentru incercat cabluri tip TIC ( miliampermetru 2÷100 mA; kilovoltmetru 0÷60 kV) | buc | 1 |  |  |  |  |
| TOTAL LEI FARA TVA |  |  |  |  |  |  |  |

CONDITII TEHNICE

| SOLICITARE ACHIZITOR | OFERTA PRESTATOR (se bifează varianta dorită) |
| --- | --- |
| Prestatorul va respecta cerintele caietului de sarcini | Acceptat □ Neacceptat □ |

CONDITII COMERCIALE

| SOLICITARE ACHIZITOR | OFERTA PRESTATOR (se bifează varianta dorită) |  |
| --- | --- | --- |
| Angajament comercial : contract 12 luni | Acceptat □ Neacceptat □ |  |
| Conditii de plata : conform contract | Acceptat □ Neacceptat □ |  |
| Termenul de prestare: Etalonarea va fi efectuata in termen de maximum 10 zile de la data punerii la dispozitia prestatorului a mijloacelor de masurare | Acceptat □ Neacceptat □ |  |
| Adresa prestare servicii: CTE Sud: Str. Releului nr.2, sector 3, Bucureşti; |  | Acceptat □ Neacceptat □ |
| Model contract propus de achizitor |  | Acceptat □ Neacceptat □ Cu obiectiuni □ (se prezinta lista cu obiectiuni) |

OBSERVATII :    ……………………………………………………………………………………………….

OPERATOR ECONOMIC

……………………….

(semnatura autorizata)